Outstanding items to be completed by Performance Services (2018.08.20):

- Entrance H is not completed.  This is similar to Entrance A as to the placement of the sweep to allow for full closure but also provide a weather seal.

Parts ordered Norm getting guys in here to work on it today.

Not done 2018.10.16

- Two security gates for the hallway (THS main hallways - upstairs and downstairs)  have been ordered but not installed.

Those are in. Need to try them to see if they can be replicated in other areas. 2018.10.18.

- A toilet in 3rd grade (Benchmark) needs to be completed.

Still needs to be completed. Not sure 2018.10.17  Check on which ones including THS

- The window by elevator (THS upstairs) is warped and bowed. Performance says it is a roof leak. Bruce says that he has had the roofers look and it is not a roof problem.  This is the window that was removed to provide access for the removal of debris during the remodeling.

Norm is still saying this is not on him. Not done 2018.10.18.  Kevin sending letter to PS

- Pool light replacement is in progress

In progress 2018.10.17

- The shower floors in the pool area is still not right.  The water does not drain properly; it pools.

In Progress/ Photocells still need to be added. Red is as of 9/10/2018

Not sure 2018.10.17

******************************

- Entrance A has been completed but they do not close completely.  The main problem is that the sweeps were placed on the iside preventing the doors from closing.  Replacement parts have been ordered to place the sweeps on the outside.

Completed 2018.1018

- Blue room doors (special ed area THS) thresh plate is completed

Completed 2018.10.18

- The shower room doors (Officials Room) have been ordered

Completed 2018.10.17

- The shower in the coaches office has been addressed (?)

Completed 2018.10.17

- Five elementary sinks need to be completed: Rooms of - Finch, Reecer, Miller, Crail, and Ringeisen)

All Sinks are complete 2018.10.17

- Cabinet front in Cloud’s room is warped and needs to be replaced.

Cabinet is complete 2018.10.17